## Introduction
EnableNSW Quick Reference Guide for NSW Government C819 Beds, Mattresses, Cots & Accessories HSSP_HC18_819
Beds, Mattresses, Cots & Accessories
The NSW Government Contract 819 includes a large range of Beds, Mattresses & Accessories. EnableNSW provides contract items within the EnableNSW eligibility and clinical criteria. This EnableNSW Quick Reference Guide (QRG) relates to: Beds, Mattresses, Cots & Accessories • This QRG does not necessarily include the full contract list. It includes items applicable to EnableNSW. • EnableNSW is required to utilise contract items unless there is no suitable item on the Contract to meet the person's clinical needs, with the exemptions to be sought in line with NSW Health Goods and Services Procurement Policy. Contact EnableNSW to discuss potential requests for items not available in stock or on the QRG. • The NSW Government contract specifies the models and suppliers for contract items. All orders are placed with contract suppliers. • Contract suppliers may have trial and delivery arrangements with local suppliers, however this arrangement is separate to EnableNSW. Specific questions regarding Contract items, assessment and trials should only be directed to Contract suppliers.
Tips for using this Microsoft Excel file • It is recommended that the EnableNSW Quick Reference Guide (QRG) is not printed as changes and updates are regularly made. Please always use the website to access the QRG. • Use the relevant request form for the category of equipment being requested. Please provide the name of the product and the supplier product code on all request forms. • Items are separated by category in separate tabs at the bottom of the spreadsheet. Click on each tab at the bottom of the spreadsheet to move between categories. • You can search for a brand, supplier product code or supplier by pressing "Ctrl" "F", then type your keyword into the "Find" bar. Any selections that contain your keyword will be highlighted. Use “Find Next” to scroll through the highlighted cells.
Product Category - The following is product categories provided by EnableNSW.
6 | Home and Community Use Beds
6A | Accessories
6A.1 | Self Help Pole
6A.3 | Side Rails
6A.5 | Head / Foot Board
6A.10 | Accessories / Options Community Beds
11 | Non Powered Mattress
11.1 | Non Powered Mattress - Roho
11.2 | Non Powered Mattress - Single 1 layer underlay
11.3 | Non Powered Mattress - Single 2 layers
11.4 | Non Powered Mattress - Single 3 layers
11.5 | Non Powered Mattress - Single 4 layers
11.6 | Non Powered Mattress - Single Air/Foam
11.7 | Non Powered Mattress - King Single Air Foam
11.8 | Non Powered Matterss - King Single 3 layers
11.9 | Non Powered Mattress - King Single 4 Layers
11.11 | Non Powered Mattress - Single
11.12 | Non Powered Mattress - King Single
11A.10 | Accessories / Options for Non Powered Mattress
12 | Powered Mattress
12.1 | Powered Mattress - Single Overlay
12.2 | Powered Mattress - King Single Overlay
12.3 | Powered Mattress - Single Replacement (Hybrid)
12.4 | Powered Mattress - King Single Replacement (Hybrid)
12.5 | Powered Mattress - Low Air alternating
12.5 | Powered Mattress - Single Replacement
12.6 | Powered Mattress - King Single Replacement

## Equipment Options Heirarchy
EQUIPMENT OPTIONS HIERARCHY
RESOURCE
Equipment Allocation Program
*Use this option first
*Check whether the equipment you need is available and can be delivered to your area
*Use the Stock Equipment Request Form
*EnableNSW purchases contract equipment into stock
EnableNSW Quick Reference Guide
*If there is no suitable equipment available from stock or clearance, refer to the relevant Quick Reference Guide (QRG) for NSW Government contract equipment provided by EnableNSW
*Use the relevant Equipment Request Form and refer to the Clinical Criteria for the equipment type
Call
EnableNSW
EnableNSW
*If you determine through trial and demonstration, that there is no suitable equipment from stock, clearance or the EnableNSW QRG, contact EnableNSW and speak with an advisor

## Pull apart beds
PRODUCT CODE Hint: Copy & paste code to ERF | BRAND / MODEL | SIZE | DESCRIPTION | SWL (Kg) | DIMENSIONS | CONTRACT SUPPLIER | COMPATIBLE ACCESSORIES Please refer to Bed Accessories Tab for further details
PULL APART BEDS
BE1005 | BetterLiving | Single | 4 section pull apart bed Height adjustable / head elevation / knee break Trendelenburg tilt Individual locking castors 200mmm Integrated bed extension | 220Kg | Overall width: 995mm Overall length: 2170mm High position: 730mm Low position: 330mm Sleeping surface: 1960 x 865mm | Novis Healthcare | BE7003 Self Help Pole BE6003 3/4 folding horizontal side rails BE6004 Full length side rails BE9002 Grab bar that may assist a person with transfers
BD0020 | Carequip Viscount | Single | 4 section pull apart bed Height adjustable / head elevation / knee break Trendelenburg tilt Individual locking castors Comes with full length horizontal side rails & self help pole | 180Kg | Overall width: 1120mm Overall length: 2120mm High position: 800mm Low position: 400mm Sleeping surface: 2000 x 900mm | Alpha Lifecare Pty Ltd | BA2060 Bed extension to suit Eurocare Viscount bed including extra long side rails and bolster
BD0310 | Alrick P5500 | Single | 4 section pull apart bed Height adjustable / head elevation / knee break Trendelenburg tilt Individual locking castors | 200Kg | Overall width: 930mm Overall length: 2190mm High position: 745mm Low position: 295mm Sleeping surface: 2000 x 900mm | Alpha Lifecare Pty Ltd | BA1000 Self Help Pole BA0400 3/4 folding horizontal side rails BA0320 3/4 folding deluxe side rails BA0580 Clamp on rail that may assist a person with transfers BA2040 Bed extension and bolster
Kdee2S-(S10209) | Cobalt Health Australia Kdee2S | Single | 4 section pull apart bed Height adjustable / head elevation / knee break Trendelenburg tilt Individual locking castors Lock out function on handset | 213Kg | Overall width: 980mm Overall length: 2100mm High position: 725mm Low position: 335mm Sleeping surface: 1900 x 870mm | Independent Living Specialists | S11819 Self Help Pole S12780 3/4 folding horizontal side rails
BD0330 | Alrick P5500W | King single | 4 section pull apart bed Height adjustable / head elevation / knee break Trendelenburg tilt Individual locking castors | 200Kg | Overall width: 1070mm Overall length: 2190mm High position: 745mm Low position: 295mm Sleeping surface: 2000 x 1050mm | Alpha Lifecare Pty Ltd | BA1000 Self Help Pole BA0400 3/4 folding horizontal side rails BA0320 3/4 folding deluxe side rails BA0580 Clamp on rail that may assist a person with transfers BA2050 Bed extension and bolster
Kdee2KS-(S12391) | Cobalt Health Australia Kdee2KS | King single | 4 section pull apart bed Height adjustable / head elevation / knee break Trendelenburg tilt Individual locking castors Lock out function on handset | 213Kg | Overall width: 1160mm Overall length: 2100mm High position: 725mm Low position: 335mm Sleeping surface: 1900 x 1050mm | Independent Living Specialists | S11819 Self Help Pole S12780 3/4 folding horizontal side rails

## Extra low beds
PRODUCT CODE Hint: Copy & paste code to ERF | BRAND / MODEL | SIZE | DESCRIPTION | SWL (Kg) | DIMENSIONS | CONTRACT SUPPLIER | COMPATIBLE ACCESSORIES Please refer to Bed Accessories Tab for further details
EXTRA LOW BEDS: Please note, one piece beds are unable to be delivered into some homes. Please check with the supplier to ensure delivery will be possible.
BEB046100 | Aidacare FL250 | Single | 4 section 1 piece bed Height adjustable / head elevation / knee break Trendelenburg tilt Auto-regression in backrest and knee break Central locking castors One button chair position Integrated bed extension to 100 and 200mm | 250Kg | Overall width: 900mm Overall length: 2088mm (2288 with ext) High position: 740mm Low position: 110mm Sleeping surface: 2000 x 900mm | Aidacare | BEB046540 Self Help Pole BEB046525 Split folding side rails (pair) BEB046520 Grab bar that may assist a person with transfers BEB046200 Head & Foot board (Sublime Teak)
BD1350 | Alrick EN9000 | Single | 4 section 1 piece bed Height adjustable / head elevation / knee break Trendelenburg tilt Individual locking castors One button chair position | 200Kg | Overall width: 905mm Overall length: 2080mm High position: 725mm Low position: 100mm Sleeping surface: 2000 x 890mm | Alpha Lifecare Pty Ltd | BA1000 Self Help pole BA1340 Horizontal side rails BA1320 Bed extension
BEB046150 | Aidacare FL250 | King single | 4 section 1 piece bed Height adjustable / head elevation / knee break Trendelenburg tilt Auto-regression in backrest and knee break Central locking castors One button chair position Integrated bed extension to 100 and 200mm | 250Kg | Overall width: 1060mm Overall length: 2088mm (2288 with ext) High position: 740mm Low position: 110mm Sleeping surface: 2000 x 1060mm | Aidacare | BEB046540 Self Help Pole BEB046525 Split folding side rails (pair) BEB046520 Grab bar that may assist a person with transfers BEB046220 Head & Foot board (Sublime Teak)
BD1360 | Alrick EN9000 king single | King single | 4 section 1 piece bed Height adjustable / head elevation / knee break Trendelenburg tilt Individual locking castors One button chair position | 200Kg | Overall width: 1070mm Overall length: 2080mm High position: 725mm Low position: 100mm Sleeping surface: 2000 x 1050mm | Alpha Lifecare Pty Ltd | BA1000 Self Help pole BA1340 Horizontal side rails BZ0064 Bed extension

## Bariatric beds >250Kg
PRODUCT CODE Hint: Copy & paste code to ERF | BRAND / MODEL | SIZE | DESCRIPTION | SWL (Kg) | DIMENSIONS | CONTRACT SUPPLIER | COMPATIBLE ACCESSORIES Please refer to Bed Accessories Tab for further details
BARIATRIC BEDS: Please note, one piece beds are unable to be delivered into some homes. Please check with the supplier to ensure delivery will be possible.
BEB046100 | Aidacare FL250 | Single | 4 section 1 piece bed Height adjustable / head elevation / knee break Trendelenburg tilt Auto-regression in backrest and knee break Central locking castors One button chair position Integrated bed extension to 100 and 200mm | 250Kg | Overall width: 900mm Overall length: 2088mm (2288 with ext) High position: 740mm Low position: 110mm Sleeping surface: 2000 x 900mm | Aidacare | BEB046540 Self Help Pole BEB046525 Split folding side rails (pair) BEB046520 Grab bar that may assist a person with transfers BEB046200 Head & Foot board (Sublime Teak)
BD1350 (bed) + BZ0316 (handset) | Alrick EN9000 | Single | 4 section 1 piece bed Height adjustable / head elevation / knee break Trendelenburg tilt Individual locking castors One button chair position | 300Kg | Overall width: 905mm Overall length: 2080mm High position: 725mm Low position: 200mm Sleeping surface: 2000 x 890mm | Alpha Lifecare Pty Ltd | BA1000 Self Help pole BA1340 Horizontal side rails BA1320 Bed extension
BEB046150 | Aidacare FL250 | King single | 4 section 1 piece bed Height adjustable / head elevation / knee break Trendelenburg tilt Auto-regression in backrest and knee break Central locking castors One button chair position Integrated bed extension to 100 and 200mm | 250Kg | Overall width: 1060mm Overall length: 2088mm (2288 with ext) High position: 740mm Low position: 110mm Sleeping surface: 2000 x 1060mm | Aidacare | BEB046540 Self Help Pole BEB046525 Split folding side rails (pair) BEB046520 Grab bar that may assist a person with transfers BEB046220 Head & Foot board (Sublime Teak)
BD0870 | Alrick 2300 | King single | 4 section 1 piece bed Height adjustable / head elevation / knee break Individual locking castors Adjustable vascular support | 300Kg | Overall width: 1090mm Overall length: 2040mm High position: 760mm Low position: 270mm Sleeping surface: 2000 x 1070mm | Alpha Lifecare Pty Ltd | BA1000 Self Help Pole BA0400 3/4 folding horizontal side rails BA0320 3/4 folding deluxe side rails BA0580 Clamp on rail that may assist a person with transfers BA0290 Bed extension
BD1360 (bed) + BZ0316 (handset) | Alrick EN9000 king single | King single | 4 section 1 piece bed Height adjustable / head elevation / knee break Trendelenburg tilt Individual locking castors One button chair position SWL can be increased to 300Kg by ordering upgraded handset. Please note low position is different with the upgraded handset. | 300Kg | Overall width: 1070mm Overall length: 2080mm High position: 725mm Low position: 200mm Sleeping surface: 2000 x 1050mm | Alpha Lifecare Pty Ltd | BA1000 Self Help pole BA1340 Horizontal side rails BZ0064 Bed extension

## One piece beds
PRODUCT CODE Hint: Copy & paste code to ERF | BRAND / MODEL | SIZE | DESCRIPTION | SWL (Kg) | DIMENSIONS | CONTRACT SUPPLIER | COMPATIBLE ACCESSORIES Please refer to Bed Accessories Tab for further details
ONE PIECE BEDS: Please note, one piece beds are unable to be delivered into some homes. Please check with the supplier to ensure delivery will be possible.
BD0530 | Carequip Wattle | Single | 4 section 1 piece bed Height adjustable / head elevation / knee break Central locking castors Integrated 200mm bed extension | 180Kg | Overall width: 900mm Overall length: 2080mm High position: 755mm Low position: 310mm Sleeping surface: 1980 x 800mm | Alpha Lifecare Pty Ltd | BA1130 Self Help Pole BA0570 Clamp on rail that may assist a person with transfers BA1145 Side rails
BD0550 | Carequip Wattle | King single | 4 section 1 piece bed Height adjustable / head elevation / knee break Central locking castors Integrated 200mm bed extension | 180Kg | Overall width: 1070mm Overall length: 2080mm High position: 755mm Low position: 310mm Sleeping surface: 1980 x 1050mm | Alpha Lifecare Pty Ltd | BA1130 Self Help Pole BA0570 Clamp on rail that may assist a person with transfers BA1145 Side rails

## Bed Accessories
PRODUCT CODE Hint: Copy & paste code to ERF | BRAND / MODEL | DESCRIPTION | COMPATIBLE WITH | SWL (Kg) | DIMENSIONS | CONTRACT SUPPLIER
SELF HELP POLE
BE7003 | BetterLiving | Pole & Triangle | Suits BetterLiving bed | 75 | L: 1400mm W: 40mm | Novis Healthcare
BA1000 | Alrick | Pole & Triangle | Alrick P5500 single & king single beds Alrick 2300 king single bed EN9000 single & king single beds | 85 |  | Alpha Lifecare Pty Ltd
S11819 | Cobalt Health Australia | Pole & Triangle | Kdee2 single & king single beds | Unknown |  | Independent Living Specialists
BEB046540 | Aidacare | Pole & Triangle | Aidacare FL250 single & king single beds | Unknown |  | Aidacare
BA1130 | Carequip | Pole & Triangle | Carequip Wattle single & king single beds | 75 | 1600mm x 50mm Tubing | Alpha Lifecare Pty Ltd
SIDE RAILS (3/4 & FULL LENGTH) & RAIL PROTECTORS
BEB046525 | Aidacare | Split folding side rails (pair) | Aidacare FL250 single & king single beds | Unknown | H-500mm, W-300mm | Aidacare
BA0400 | Alrick | 3/4 folding horizontal side rails | Alrick P5500 single & king single beds Alrick 2300 king single bed | Unknown | L: 1600mm H: 400mm | Alpha Lifecare Pty Ltd
BA0320 | Alrick | 3/4 folding deluxe side rails | Alrick P5500 single & king single beds Alrick 2300 king single bed | Unknown | L: 1450mm H: 412mm | Alpha Lifecare Pty Ltd
BA1340 | Alrick | Horizontal side rails | Alrick BD1350 (single) bed | Unknown |  | Alpha Lifecare Pty Ltd
BA2080 | Alrick | Horizontal side rails | Alrick BD1360 (king single) bed | Unknown |  | Alpha Lifecare Pty Ltd
BA1145 | Carequip | Side Rails | Wattle bed | Unknown | 2000mm 150mmx 150mm | Alpha Lifecare Pty Ltd
S12780 | Cobalt Health Australia | 3/4 folding horizontal side rails | Kdee2S & Kdee2KS beds | Unknown |  | Independent Living Specialists
BE6003 | BetterLiving | 3/4 folding horizontal side rails | Better Living bed | 75 | L: 1235mm W: ?40mm H: 434mm | Novis Healthcare
BE6004 | BetterLiving | Full length side rails | Better Living bed | 75 | L: 2080mm W: 40mm H: 410mm | Novis Healthcare
BA1030 | Carequip | Rail covers to prevent limb entrapment | Alrick BA0400 side rails | N/A | L: 1500mm H: 800mm | Alpha Lifecare Pty Ltd
CLAMP ON RAIL / TRANSFER RAIL
BEB046520 | Aidacare | Grab bar that may assist a person with transfers | Aidacare FL250 single & king single beds | Unknown |  | Aidacare
BA0580 | Alrick | Clamp on rail that may assist a person with transfers | Alrick P5500 single & king single beds Alrick 2300 king single bed | 180 | H: 500mm W: 300mm | Alpha Lifecare Pty Ltd
BA0570 | Carequip | Clamp on rail that may assist a person with transfers | Wattle bed | 180 |  | Alpha Lifecare Pty Ltd
BE9002 | BetterLiving | Grab bar that may assist a person with transfers | Better Living bed | 75 | L: 265mm W: 55mm H: 630mm | Novis Healthcare
BED EXTENSION / BOLSTER
BA2040 | Alrick | Bed extension, includes bolster | Alrick P5500 single bed | Unknown | W: 900mm L: 200mm | Alpha Lifecare Pty Ltd
BA2050 | Alrick | Bed extension, includes bolster | Alrick P5500W king single bed | Unknown | W: 1070mm L: 200mm | Alpha Lifecare Pty Ltd
BA2060 | Carequip | Bed extension includes extra long side rails & bolster | Eurocare Viscount bed | Unknown | W: 900mm L: 200mm | Alpha Lifecare Pty Ltd
BA0290 | Alrick | Bed extension | Alrick 2300 bed | Unknown | 2000mm x 1070mm | Alpha Lifecare Pty Ltd
BA1320 | Alrick | Bed extension | Single Alrick EN9000 bed | Unknown | 2000mm x 900mm | Alpha Lifecare Pty Ltd
BZ0064 | Alrick | Bed extension | King single Alrick EN9000 bed | Unknown | 2000mm x 1070mm | Alpha Lifecare Pty Ltd
MF0540 | Carequip | Bolster with cover only | Single | N/A | W: 900mm L: 200mm H: 150mm | Alpha Lifecare Pty Ltd
MF0680 | Carequip | Bolster with cover only | King Single | N/A | W: 1050mm L: 200mm H: 150mm | Alpha Lifecare Pty Ltd
HEAD / FOOT BOARDS
BEB046200 | Aidacare | Head & Foot board (Sublime Teak) | Aidacare FL250 single bed | N/A | N/A | Aidacare
BEB046220 | Aidacare | Head & Foot board (Sublime Teak) | Aidacare FL250 king single bed | N/A | N/A | Aidacare

## Foam Mattress
PRODUCT CODE Hint: Copy & paste code to ERF | BRAND / MODEL | SIZE | DESCRIPTION | SWL (Kg) | DIMENSIONS | CONTRACT SUPPLIER | SUPPLIER PRODUCT DESCRIPTION
Single foam underlay (For underneath powered air mattress) / 1 layer
JBFOAM2 | JBM | Single (underlay) | 2 in foam underlay | 195 | L : 1980mm W: 880mm H: 50mm | JB Medical Equipment | Single layer 2 inch foam mattress suitable for use under overlay mattresses
Single foam mattress / 2 layers
MF1790 | Allay | Single | 2 layer | 50 | L: 2030mm W: 900mm H: 150mm | Alpha Lifecare Pty Ltd | Allay - 2 Layer Paediatric Mattress - Pressure Prevention Support Surface
Single foam mattress / 3 layers
3210216 | Forte Icon | Single | 3 layer | 200 | L: 1980mm W: 880mm H: 150mm | Acacia No1 Trust | Airoform Upper Immersion Layer Central Immersion/Postural Support Layer Firm Base Protection Layer Strengthened Sides Combination Pressure Care Cover
3220216 | Forte Icon | Single | 3 layer | 200 | L: 2030mm W: 880mm H: 150mm | Acacia No1 Trust | Airoform Upper Immersion Layer Central Immersion/Postural Support Layer Firm Base Protection Layer Strengthened Sides Combination Pressure Care Cover
BEM046510 | Aspire Lifecomfort Deluxe | Single | 3 layer | 150 | L: 2000mm W: 900mm H: 150mm | Aidacare | Full size memory foam top layer Two way stretch top cover Vinyl base cover
MF1860 | Titan | Single | 3 layer | 180 | L: 2030mm W: 900mm H: 150mm | Alpha Lifecare Pty Ltd | Firm Base Protection Layer
MF1700 | Nebula | Single | 3 layer | 180 | L: 2030mm W: 900mm H: 150mm | Alpha Lifecare Pty Ltd | Strengthened Sides
HC00103 | Howard Wright | Single | 3 layer | 250 | L = 2000mm W = 860mm H = 160mm | Howard Wright Limited | PREMA Ward Mattress
Icon Standard_Sing | Forte Healthcare | Single | 3 layer | 165 | L: 1980 / 2030mm W: 880mm H: 150mm | Independent Living Specialists | Static Pressure Relieving Mattress - Medium-High Risk
BSPS3000 | AreaCare Plus | Single | 3 layer | 220 | L: 1960mm W: 865mm H: 150mm | Novis Healthcare | Memory foam top layer Cotton inner lining 6 profile hinges 4 way stretch cover Safety side walls
BSPS3003 | AreaCare | Single | 3 layer | 200 | L: 1960mm W: 865mm H: 150mm | Novis Healthcare | Memory foam top layer Double strength multi stretch cover
Single foam mattress / 4 layers
3210335 | Forte Icon Maxx | Single | 4 layer | 400 | L: 1980mm W: 880mm H: 180mm | Acacia No1 Trust | Bariatric mattress 350kg Weight Capacity Pressure Care Medical Cover
3220335 | Forte Icon Maxx | Single | 4 layer | 400 | L: 2030mm W: 880mm H: 180mm | Acacia No1 Trust | Bariatric mattress 350kg Weight Capacity Pressure Care Medical Cover
S31000 | Forte Sovereign S31000 | Single | 4 layer | 280 | L: 1980mm W: 880mm H: 150mm | Acacia No1 Trust | 5 Regions of Pressure Relief Pressure Sensitive Immersion Interface & Zoned/Modulated Secondary Layer Graded Postural Support Firm Base Layer Integrated Sloped Heel Region 250kg Patient Weight Capacity Premiflex High Performance Cover
S31001 | Forte Sovereign S31002 | Single | 4 layer | 280 | L: 2030mm W: 880mm H: 150mm | Acacia No1 Trust | 5 Regions of Pressure Relief Pressure Sensitive Immersion Interface & Zoned/Modulated Secondary Layer Graded Postural Support Firm Base Layer Integrated Sloped Heel Region 250kg Patient Weight Capacity Premiflex High Performance Cover
BEM046610 | Aspire Lifecomfort Pressure Reducing | Single | 4 layer | 150 | L: 2000mm W: 900mm H: 150mm | Aidacare | Full size memory foam top layer Reinforced side walls Two way stretch top cover Heavy duty PVC base cover
BEM046725 | Aspire Lifecomfort Premier Care | Single | 4 layer | 180 | L: 2000mm W: 900mm H: 150mm | Aidacare | Full size memory foam top layer Integrated cotton stockinette promotes foam longevity Reinforced side walls Two way stretch top cover Heavy duty PVC base cover
MF1660 | Nova | Single | 4 layer | 225 | L: 2030mm W: 900mm H: 150mm | Alpha Lifecare Pty Ltd | Nova - 4 Layer Modulated Mattress - Pressure Prevention Support Surface
Icon MAXX Bariatric_Sing | Forte Healthcare | Single | 4 layer | 350 | L: 1980 / 2030mm W: 880mm H: 150mm | Independent Living Specialists | Static Pressure Relieving Mattress - High Risk
Sovereign Plus_Sing | ILS - Forte Healthcare | Single | 4 layer | 200 | L: 1980 / 2030mm W: 880mm H: 150mm | Independent Living Specialists | Static Pressure Relieving Mattress - Very High Risk
JBFOAMRLP | JBM | Single | 4 layer | 260 | L: 1980mm W: 880mm H: 160mm | JB Medical Equipment | Incorporating a full length overlay of ViscoLux 2 way stretch cover Reinforced sides
King Single foam mattress / 3 layers
3230316 | Forte Icon | King single | 3 layer | 200 | L: 1980mm W: 1050mm H: 150mm | Acacia No1 Trust | Airoform Upper Immersion Layer Central Immersion/Postural Support Layer Firm Base Protection Layer Strengthened Sides Premiflex Combination Pressure Care Cover
3240316 | Forte Icon | King single | 3 layer | 200 | L: 2030mm W: 1050mm H: 150mm | Acacia No1 Trust | Airoform Upper Immersion Layer Central Immersion/Postural Support Layer Firm Base Protection Layer Strengthened Sides Premiflex Combination Pressure Care Cover
BEM046455 | Aspire Lifecomfort Deluxe | King single | 3 layer | 150 | L: 20000mm W: 1050mm H: 150mm | Aidacare | Full size memory foam top layer Two way stretch top cover Vinyl base cover
BEM046700 | Aspire Lifecomfort Bariatric | King single | 3 layer | 300 | L: 2030mm W: 1050mm H: 200mm | Aidacare | Aspire Lifecomfort Bariatric Mattress - King Single - 300kg
MF1850 | Titan | King single | 3 layer | 180 | L: 1980mm W: 1050mm H: 150mm | Alpha Lifecare Pty Ltd | Titan - 3 Layer Mattress - Pressure Prevention Support Surface
MF3000 | Nebula | King single | 3 layer | 180 | L: 1980mm W: 1050mm H: 150mm | Alpha Lifecare Pty Ltd | Nebula - 3 Layer Modulated Mattress - Pressure Prevention Support Surface
913MNOV-KS-W | Nova | King single | 3? layer | 225 | L: 1980mm W: 1050mm H: 150mm | Alpha Lifecare Pty Ltd | Nova - 4 Layer Modulated Mattress - Pressure Prevention Support Surface
Icon Plus_KingSing | ILS - Forte Healthcare | King single | 3 layer | 165 | L: 1980 / 2030mm W: 1050mm H: 150mm | Independent Living Specialists | Static Pressure Relieving Mattress - High Risk
Icon Standard_KingSing | Forte Healthcare | King single | 3 layer | 165 | L: 1980 / 2030mm W: 1050mm H: 150mm | Independent Living Specialists | Static Pressure Relieving Mattress - Medium-High Risk
Sovereign Standard_KingSing | Forte Healthcare | King single | 3 layer | 150 | L: 1980 / 2030mm W: 1050mm H: 150mm | Independent Living Specialists | Static Pressure Relieving Mattress - High-Very High Risk
King Single foam mattress / 4 layers
3230335 | Forte Icon Maxx | King single | 4 layer | 400 | L: 1980mm W: 1050mm H: 180mm | Acacia No1 Trust | Bariatric mattress 350kg Weight Capacity Pressure Care Medical Cover
3230350 | Forte Icon Maxx | King single | 4 layer | 560 | L: 1980mm W: 1050mm H: 180mm | Acacia No1 Trust | Bariatric mattress 500kg Weight Capacity Pressure Care Medical Cover
3240335 | Forte Icon Maxx | King single | 4 layer | 400 | L: 2030mm W: 1050mm H: 180mm | Acacia No1 Trust | Bariatric mattress 350kg Weight Capacity Pressure Care Medical Cover
S31002 | Forte Sovereign S31004 | King single | 4 layer | 280 | L: 1980mm W: 1050mm H: 150mm | Acacia No1 Trust | 5 Regions of Pressure Relief Pressure Sensitive Immersion Interface & Zoned/Modulated Secondary Layer Graded Postural Support Firm Base Layer Integrated Sloped Heel Region 250kg Patient Weight Capacity Premiflex High Performance Cover
S31003 | Forte Sovereign S31006 | King single | 4 layer | 280 | L: 2030mm W: 1050mm H: 150mm | Acacia No1 Trust | 5 Regions of Pressure Relief Pressure Sensitive Immersion Interface & Zoned/Modulated Secondary Layer Graded Postural Support Firm Base Layer Integrated Sloped Heel Region 250kg Patient Weight Capacity Premiflex High Performance Cover
3240350 | Forte Icon Maxx | King single | 4 layer | 560 | L: 2030mm W: 1050mm H: 180mm | Acacia No1 Trust | Bariatric mattress 500kg Weight Capacity Pressure Care Medical Cover
BEM046660 | Aspire Lifecomfort Pressure Reducing | King single | 4 layer | 150 | L: 2000mm W: 1050mm H: 150mm | Aidacare | Full size memory foam top layer Reinforced side walls Two way stretch top cover Heavy duty PVC base cover
MF1600 | Atlas | King single | 4 layer | 350 | Mattress L: 2134mm W: 890mm H: 200mm Bolsters L: 2134mm W: 155mm H: 200mm | Alpha Lifecare Pty Ltd | Atlas - 4 Layer Bariatric Modulated Mattress - Pressure Prevention Support Surface - 3 Section Bolsters
Icon MAXX Bariatric_KingSing | Forte Healthcare | King single | 4 layer | 350 | L: 1980 / 2030mm W: 1050mm H: 150mm | Independent Living Specialists | Static Pressure Relieving Mattress - High Risk
BEM046730 | Aspire Lifecomfort Premier Care | King single | 4 layer | 180 | L: 2000mm W: 1050mm H: 150mm | Aidacare | Full size memory foam top layer Integrated cotton stockinette promotes foam longevity Reinforced side walls Two way stretch top cover Heavy duty PVC base cover
Roho section inserted into foam mattress (see Roho integrated options Tab for further info)
817181M1 | Forte ROHO Segment Integration | Roho | 1 Roho section inserted into Forte foam mattress | <500 | L: 810mm W: 520mm H: 85mm | Acacia No1 Trust | Supply and Custom Integration of 1 x ROHO Mattress Segment within Forte Mattress of Choice (please provide contract code for mattress as part of equipment request).
817181M2 | Forte ROHO Segment Integration | Roho | 2 Roho sections inserted into Forte foam mattress | <500 | L: 810mm W: 520mm H: 85mm | Acacia No1 Trust | Supply and Custom Integration of 2 x ROHO Mattress Segment within Forte Mattress of Choice (please provide contract code for mattress as part of equipment request).
817181M3 | Forte ROHO Segment Integration | Roho | 3 Roho sections inserted into Forte foam mattress | <500 | L: 810mm W: 520mm H: 85mm | Acacia No1 Trust | Supply and Custom Integration of 3 x ROHO Mattress Segment within Forte Mattress of Choice (please provide contract code for mattress as part of equipment request).

## Non powered air & foam
PRODUCT CODE Hint: Copy & paste code to ERF | BRAND / MODEL | CATEGORY | SIZE | DESCRIPTION | SWL (Kg) | DIMENSIONS | SUPPLIER PRODUCT DESCRIPTION | CONTRACT SUPPLIER
Roho section inserted into foam mattress
817181M1 | Forte ROHO Segment Integration | A | Roho | 1 Roho section inserted into Forte foam mattress *see layout options in separate tab | <500 | L: 810mm W: 520mm H: 85mm | Supply and Custom Integration of 1 x ROHO Mattress Segment within Forte Mattress of choice *please provide contract code for a Forte foam mattress as part of equipment request | Acacia No1 Trust
817181M2 | Forte ROHO Segment Integration | A | Roho | 2 Roho sections inserted into Forte foam mattress *see layout options in separate tab | <500 | L: 810mm W: 520mm H: 85mm | Supply and Custom Integration of 2 x ROHO Mattress Segment within Forte Mattress of choice *please provide contract code for a Forte foam mattress as part of equipment request | Acacia No1 Trust
817181M3 | Forte ROHO Segment Integration | A | Roho | 3 Roho sections inserted into Forte foam mattress *see layout options in separate tab | <500 | L: 810mm W: 520mm H: 85mm | Supply and Custom Integration of 3 x ROHO Mattress Segment within Forte Mattress of choice *please provide contract code for a Forte foam mattress as part of equipment request | Acacia No1 Trust
Single - Air/Foam
MF1520 | SpanAmerica Custom Care | A | Single Replacement | A self adjusting air / foam mattress | 226 | L: 2000mm W: 900mm H: 180mm | Non-Powered Mattress, Self adjusting air & foam construction with welded cover | Alpha Lifecare Pty Ltd
MA0090 | Care of Sweden Area Zone | A | Single Replacement | A self adjusting air pumpless mattress with foam surface | 230 | L: 2000mm W: 850mm H: 180mm | Self Adjusting Pumpless Air Mattress replacement system - Single | Alpha Lifecare Pty Ltd
Tal-Fusion Response | Talley Fusion Response | A | Single Replacement | Air cells contain pressure redistributing foam | 250 | L: 1970mm W: 880mm H: 170mm | Static Pressure Relieving Mattress - Very High Risk | Independent Living Specialists
JBFLEXAIR | Flexi-Air | A | Single Replacement | Foam encased in air cells | 260 | L: 2000mm W: 850mm H: 203mm | Multilayer low-density foam encased in air cells. This unique design results in a lightweight mattress with less interface pressure to the patient. Suitable for patients at high risk of pressure injury | JB Medical Equipment
FAMCM-R02 | CairMax | A | Single Replacement | A self adjusting air pumpless mattress with foam surface | 230 | L: 2000mm W: 880mm H: 160mm | CairMax Foam Air Support Surface, interconnected air cells, with foam topper and heel slope. SWL 230KG | Novis Healthcare
King single - Air / Foam
MA3080 | SpanAmerica Custom Care | A | King single Replacement | A self adjusting air / foam mattress | 226 | L: 2000mm W: 1050mm H: 180mm | Non-Powered Mattress, Self adjusting air & foam construction with welded cover | Alpha Lifecare Pty Ltd
MA0120 | Care of Sweden Area Zone | A | King single Replacement | A self adjusting air pumpless mattress with foam surface | 230 | L: 2000mm W: 1050mm H: 180mm | Self Adjusting Pumpless Air Mattress replacement system - King Single | Alpha Lifecare Pty Ltd
FAMCM-R02K | CairMax King | A | King single Replacement | A self adjusting air pumpless mattress with foam surface | 230 | L: 2000mm W: 1050mm H: 160mm | CairMax King Foam Air Support Surface, interconnected air cells, with foam topper and heel slope. SWL 230KG | Novis Healthcare

## Powered air Mattress
PRODUCT CODE Hint: Copy & paste code to ERF | BRAND / MODEL | CATEGORY | SIZE | DESCRIPTION | SWL (Kg) | DIMENSIONS | CONTRACT SUPPLIER | SUPPLIER PRODUCT DESCRIPTION
Mattress Replacement - Single
PTM639300 | Aspire Active Air 8 | A | Single Replacement | 1:2 alternating air replacement Variable cycle time Comfort level adjustment Auto lock control panel Auto adjustment to person size | 200 | L = 2000mm W = 900mm H = 200mm | Aidacare | Aspire ACTIVE AIR 8 Mattress Replacement - Single - 200kg
PTM639500 | Aspire Active Air Bari 10 | B | Single Replacement |  | 450 | L = 2000mm W = 900mm H = 270mm | Aidacare | Aspire Active Air BARI 10 Bariatric Mattress Replacement - Single - 450kg
ND2ASTHP | NoDec 2 Airstream Total Heel Protector | B | Single Replacement | 1:2 alternating air replacement Permanent inflated side formers for transfers Comfort level adjustment Auto adjustment to person size | 250 | L = 1900mm W = 880mm H = 210mm | Eniax | Hospital quality, 2 cell-cycle, alternating pressure mattress replacement achieiving zero pressure in heels
ND3AS | NoDec 3 Airstream | C | Single Replacement | 1:3 alternating air replacement Permanent inflated side formers for transfers Comfort level adjustment Auto adjustment to person size | 300 | L = 1900mm W = 880mm H = 230mm | Eniax | Clinically proven 3 cell-cycle, alternating pressure mattress replacement featuring vacuum assisted removal for pressure elimination healing & prevention of pressure injuries in Acute Care Hospitals
ND3W | NoDec 3 Wizard | C | Single Replacement | 1:3 alternating air replacement Lateral turn feature | 300 | L = 1900mm W = 880mm H = 210mm | Eniax | Hospital quality, 3 cell-cycle, alternating pressure mattress replacement with lateral turn feature, achieves zero pressure.
VIR3T | Virtuoso | B | Single Replacement | 1:3 alternating air replacement Permanent inflated side formers for transfers Comfort level adjustment Auto adjustment to person size Constant low pressure mode | 270 | L = 2040mm W = 860mm H = 230mm | Eniax | Clinically proven 3 cell-cycle, alternating pressure mattress replacement featuring zero pressure therapy for healing & prevention of pressure injuries in Acute Care Hospitals
VIR3THZFZ | Virtuoso Head & Heel Zoner | B | Single Replacement | 1:3 alternating air replacement Permanent inflated side formers for transfers Comfort level adjustment Auto adjustment to person size Constant low pressure mode | 270 | L = 2040mm W = 860mm H = 230mm | Eniax | Clinically proven 3 cell-cycle, alternating pressure mattress replacement featuring zero pressure therapy for healing & prevention of pressure injuries in Acute Care Hospitals. Featuring specialist Head and Heel Zone Selectors
PCMRS_Long | Talley Pulsair Choice Long | A | Single Replacement | 1:4 alternating air replacement | 200 | L = 1900mm W = 880mm H = 210mm | Independent Living Specialists | Single Air Mattress Replacement System - Talley Pulsair Choice Long - 200kg SWL
PCMRS_Standard | Talley Pulsair Choice Standard | A | Single Replacement | 1:4 alternating air replacement | 200 | L = 1950mm W = 880mm H = 180mm | Independent Living Specialists | Single Air Mattress Replacement System - Talley Pulsair Choice Standard - 200kg SWL
QAMRS_Standard | Talley Quattro Acute | C | Single Replacement | 1:4 alternating air replacement | 250 | L = 1980mm W = 900mm H = 240mm | Independent Living Specialists | Single Air Mattress Replacement System - Talley Acute Standard 250kg SWL
QPMRS_Long | Talley Quattro Plus Long | B | Single Replacement | 1:4 alternating air replacement | 200 | L = 2080mm W = 880mm H = 180mm | Independent Living Specialists | Single Air Mattress Replacement System - Talley Quattro Plus Long - 200kg SWL
QPMRS_Standard | Talley Quattro Plus Standard | B | Single Replacement | 1:4 alternating air replacement | 200 | L = 1950mm W = 880mm H = 180mm | Independent Living Specialists | Single Air Mattress Replacement System - Talley Quattro Plus Standard - 200kg SWL
JBDAUTO8 | Diamond Auto 8 | A | Single Replacement | 1:2 alternating air replacement Continuous Low Pressure mode Min SWL 40Kg | 250 | L = 2000mm W = 900mm H = 203mm | JB Medical Equipment | Alternating replacement air mattress for patients at very high risk of developing pressure injuries
JBSERENE | Serene LAL | B | Single Replacement | Low air loss + alternating air | 180 | L = 2000mm W = 900mm H = 203mm | JB Medical Equipment | Low air loss replacement system that combines true low air loss and dynamic alternating pressure together. Suitable for patients at very high risk of pressure injuries
C5700 | K Care 7 | A | Single Replacement | Alternating air mattress with foam base | 180 | L = 2000mm W = 900mm H = 220mm | K Care Healthcare Solutions | Hospital quality,AIR/ FOAM AP Mattress for affordable pressure care, SWL 180KG
C5800 | K Care 8 | A | Single Replacement | Alternating air mattress with foam base | 200 | L = 2000mm W = 900mm H = 250mm | K Care Healthcare Solutions | Hospital quality,AIR/ FOAM AP Mattress for affordable pressure care, SWL 200KG
APMPC-R02 | ProCair Plus | A | Single Replacement | 1:2 alternating air replacement Comfort level adjustment Auto adjustment to person size Min SWL 40Kg | 220 | L = 2000mm W = 880mm H = 200mm | Novis Healthcare | Replacement mattress, 1-2 alternation, Auto weight sensing control unit with comfort level adjustment, SWL 40-180KG
APMPC-R01S | ProCair | A | Single Replacement | 1:2 alternating air replacement Comfort level adjustment Auto adjustment to person weight and size Min SWL 40Kg | 200 | L = 2000mm W = 880mm H = 200mm | Novis Healthcare | Hospital Replacement mattress, 1-2 alternation, Auto weight sensing control unit with comfort level adjustment, for high risk patients, SWL 40-200KG
Mattress Replacement - King single
PTM639310 | Aspire Active Air 8 | A | King single Replacement | 1:2 alternating air replacement Variable cycle time Comfort level adjustment Auto lock control panel Auto adjustment to person size | 200 | L = 2000mm W = 1050mm H = 200mm | Aidacare | Aspire ACTIVE AIR 8 Mattress Replacement - King Single - 200kg
ND3B330 | NoDec Bari | C | King single Replacement | 1:3 alternating air replacement Permanent inflated side formers for transfers Comfort level adjustment Auto adjustment to person size | 350 | L = 2000mm W = 1000mm H = 250mm | Pegasus Healthcare | Hospital quality, 3 cell-cycle, alternating pressure mattress replacement for bariatric patients.
NDTRIOKS | NoDec Trio | B | King single Replacement | 1:3 alternating air replacement Comfort level adjustment Auto adjustment to person size | 200 | L = 1900mm W = 1020mm H = 200mm | Pegasus Healthcare | 3 cell-cycle, alternating pressure mattress replacement for affordable pressure area care in Hospitals and Community
AS3KS | NoDec 3 Airstream King single | C | King single Replacement | 1:3 alternating air replacement Comfort level adjustment Auto adjustment to person size | 300 | L = 1900mm W = 1050mm H = 230mm | Pegasus Healthcare | 3-cell 7.5 minute cycle alternating pressure mattress which features vacuum-assisted zero pressure therapy and pressure elimination. There are 2 layers of 18 alternately inflating and deflating, transversely placed air-cells each. The air-cells of each layer are ultrasonically welded together and feature permanently inflated side formers at the sides of the mattress. Pump features Alternating and Timed Static modes, Auto setting of pressures. Transport mode, Comfort controls easy CPR access on umbilical.
C57K01 | K Care 7 | A | King single Replacement | Alternating air replacement Comfort level adjustment Continuous Low Pressure mode Max inflate mode | 180 | L = 2000mm W = 1070mm H = 220mm | K Care Healthcare Solutions | King Single, Hospital quality,AIR/ FOAM AP Mattress for affordable pressure care, SWL 180KG
C58K01 | K Care 7 | A | King single Replacement | Alternating air replacement Comfort level adjustment Continuous Low Pressure mode Max inflate mode | 200 | L = 2000mm W = 1070mm H = 250mm | K Care Healthcare Solutions | King Single, Hospital quality,AIR/ FOAM AP Mattress for affordable pressure care, SWL 200KG
APMPC-R01SK | ProCair King | A | King single Replacement | 1:2 alternating air replacement Comfort level adjustment Auto adjustment to person size Min SWL 40Kg | 200 | L = 2000mm W = 1050mm H = 200mm | Novis Healthcare | King sized Hospital replacement mattress, 1-2 alternation, Auto weight sensing control unit with comfort level adjustment, for high risk patients, SWL 40-200KG
APMPC-R02K | ProCair Plus King | A | King single Replacement | 1:2 alternating air replacement Comfort level adjustment Auto adjustment to person size Min SWL 40Kg | 220 | L = 2000mm W = 1050mm H = 200mm | Novis Healthcare | KING Replacement mattress, 1-2 alternation, Auto weight sensing control unit with comfort level adjustment, SWL 40-180KG
APMPC-R04K | ProCair Quad King | A | King single Replacement | 1:4 alternating air replacement Comfort level adjustment Auto adjustment to person size Min SWL 40Kg | 250 | L = 2000mm W = 1050mm H = 200mm | Novis Healthcare | King Size Hospital alternating air replacement mattress, 1-4 alternation, with 6 comfort levels, SWL 40-250KG
Mattress Overlay - Single
A5000P | Forte Airmonte A5000 | A | Single Overlay | Variable cycle time Comfort level adjustment Auto adjustment to person size Continuous Low Pressure mode | 150 | L = 1960mm W = 860mm H = 128mm | Acacia No1 Trust | Excellent Value, Functional Pressure Relieving Active Air Overlay
PTM639200 | Aspire Active Air 5 | A | Single Overlay | 1:2 alternating air overlay Variable cycle time Comfort level adjustment Continuous Low Pressure mode Auto lock control panel Auto adjustment to person size | 175 | L = 2000mm W = 900mm H = 130mm | Aidacare | Aspire ACTIVE AIR 5 Mattress Overlay - Single - 175kg
MA0390 | Care of Sweden Sam Pro | A | Single Overlay | Powered static air overlay | 250 | L = 2000mm W = 850mm H = 100mm | Alpha Lifecare Pty Ltd | MA0390 CF10 Sam Pro Static Air Overlay System - Single
QO_Long | Talley Quattro Overlay Long | A | Single Overlay | 1:4 alternating air overlay | 160 | L = 1970mm W = 880mm H = 170mm | Independent Living Specialists | Single Alternating Overlay - Quattro Long 160kg SWL
QO_Standard | Talley Quattro Overlay Standard | A | Single Overlay | 1:4 alternating air overlay | 160 | L = 2020mm W = 850mm H = 130mm | Independent Living Specialists | Single Alternating Overlay - Quattro Standard 160kg SWL
Mattress Overlay - King single
PTM639210 | Aspire Active Air 5 | A | King single Overlay | 1:2 alternating air overlay Variable cycle time Comfort level adjustment Continuous Low Pressure mode Auto lock control panel Auto adjustment to person size | 175 | L = 2000mm W = 1050mm H = 130mm | Aidacare | Aspire ACTIVE AIR 5 Mattress Overlay - King Single - 175kg
MA0410 | Care of Sweden Sam Pro | A | King single Overlay | Powered static air overlay | 250 | L = 2000mm W = 1050mm H = 100mm | Alpha Lifecare Pty Ltd | MA0410 CF10 Sam Pro Static Air Overlay System - King Single
Mattress Replacement - Single (Hybrid)
MA3130 | SpanAmerica APM2 - Single | C | Single Replacement | Lateral rotation Alternating air mattress | 160 | L = 2000mm W = 900mm H = 180mm | Alpha Lifecare Pty Ltd | Lateral Rotation and Alternating Air Mattress Replacement with modulated foam / air construction with welded cover and evacuation straps, including pump
FAMCM-R01 | CairMax Duo | A | Single Replacement | Foam / air mattress When pump is added, becomes an alternating air mattress | 230 | L = 2000mm W = 880mm H = 200mm | Novis Healthcare | CairMax Duo Foam Air Support Surface, offers static pressure relief and dynamic therapy in one, SWL 230KG
ZAS1000 | Forte Zephair | A | Single Replacement | Alternating air mattress with foam base and foam top Sloped heel region Stabilising foam sides | 180 | L = 1980mm W = 880mm H = 215mm | Acacia No1 Trust | Forte Zephair High Risk Palliative Care & Pain Management Mattress-King Single, Suitable for Palliative Care and Hypersensitive Patients, Facilitates Patient Care and Repositioning
Mattress Replacement - King Single (Hybrid)
91805KS | SpanAmerica Span Care Convertible | A | King single Replacement | Air / foam mattress replacement | 180kg without pump, 226kg with pump | L = 2000mm W = 1050mm H = 180mm | Alpha Lifecare Pty Ltd | Hybrid Mattress with modulated foam / air construction with welded cover
MA3050 | Pump for Span Care Convertible | A | King single Replacement | Pump for Span Care Convertible | 180kg without pump, 226kg with pump | L=300mm, W=220mm, H=100mm | Alpha Lifecare Pty Ltd | Pump converts SpanCare Convertible mattress to a powered mattress
FAMCM-R01K | CairMax Duo | A | King single Replacement | Foam / air mattress When pump is added, becomes an alternating air mattress | 230 | L = 2000mm W = 1050mm H = 200mm | Novis Healthcare | CairMax Duo Foam Air Support Surface, offers static pressure relief and dynamic therapy in one, SWL 230KG
ZAKS1000 | Forte Zephair | A | King single Replacement | Alternating air mattress with foam base and foam top Sloped heel region Stabilising foam sides | 180 | L = 1980mm W = 1050 H = 215mm | Acacia No1 Trust | Forte Zephair High Risk Palliative Care & Pain Management Mattress-King Single, Suitable for Palliative Care and Hypersensitive Patients, Facilitates Patient Care and Repositioning

## Roho integrated layout options
To request Roho section inserted into foam mattress: 1) Select the foam mattress of choice from Forte Healthcare (Icon, Icon Maxx or Sovereign) and enter the product code on to your Equipment Request Form 2) Select whether 1 (817181M1) , 2 (817181M2) or 3 (817181M3) Roho air sections are required and enter the corresponding product code on to your Equipment Request Form 3) Advise on the positioning option (see below) selected on your Equipment Request Form

## Supplier Contact Details
SUPPLIER NAME | TRADING NAME | ALIAS | TELEPHONE | WEBSITE
Acacia No 1 Trust | Forte Healthcare |  | (02) 6771 2432 | www.fortehealthcare.com.au
Aidacare | Aidacare |  | (02) 9618 5000 | www.aidacare.com.au
Alpha Lifecare Pty Ltd | Alpha Lifecare Pty Ltd | Alphacare Pty Ltd | 1300 930 930 | www.alphacare.com.au
Alpha Lifecare Pty Ltd | Alpha Lifecare Pty Ltd | Astris Lifecare Pty Ltd | (02) 9714 1100 | www.astrislifecare.com.au
Eniax | Pegasus Healthcare |  | (02) 9601 6909 | www.pegasushealthcare.com
Howard Wright | Howard Wright Limited |  | 1800 120 727 ext 700 | www.howardwrightcares.com
Independent Living Specialists | Independent Living Specialists Pty Ltd |  | (02) 9427 4995 | www.ilsau.com.au
JB Medical | JB Medical Equipment Pty Ltd |  | 1300 788 182 | www.jbmedical.com.au
K Care | K Care |  | 1300 783 783 | www.kcare.com.au
Novis | Novis Healthcare Pty Ltd |  | 1300 738 885 | www.novis.com.au

## Change Tracker (hidden)
Date | Reason | Supplier
2021-06-11 | Change of product Code (Foam Mattress, Non Powered Air and Foam, Powered Air Mattress) | Alpha Lifecare